## Slide 1: Kinematics Presentation Tom
3_27_25

## Slide 2
~0.67V source, 16 bit enc, 8x ADC gain, 100 ohm div
Just Re-testing previous
3.3V source, 16 bit enc, 8x ADC gain, 50 ohm div

## Slide 3
3.3V source, 16 bit enc, 8x ADC gain, 50 ohm div
3.3V source from LVR and 2 x 10uF Caps, 16 bit enc, 8x ADC gain, 50 ohm div
3.3V source from LVR and 2 10uF Caps, 16 bit enc, 8x ADC gain, 40 ohm div (~15% of possible ADC range)

## Slide 4: Kinematics Presentation Tom
4_9_25

## Slide 5: Circuit Testing Summary
AD620 Instrumentation Amplifier Successfully configured to amplify the differential signal across the strain gauge and 2.048V Vref
LMC6840 Op-Amp Used to amplify the strain gauge voltage in a single-ended configuration. Provided stable output with low noise under 3.3V single-supply operation.
Power Supply Tried both 5V and 3.3V Low-Voltage Regulator (LVR)
Working Circuit Among several configurations tested, only one circuit demonstrated consistent and reliable performance. This setup will be the focus of further discussion and documentation.

## Slide 6
LVR +3.3V
GND
LMC6482, 75kohm/1kohm, total gain of 76
+26 mV to 52 mV
+0 mV
+1.98 V to 3.95V
LM040, 2.048V ref
-2.048 V
MCP3421 Differential Input PGA x2, 16 bit
(Alternative can use ADS111)
Arduino Uno I2C
ADC bits range from ~ -3000 to 20000 (as opposed to 5000 delta previously) of possible -32k to 32 k
GND
Strain Gauge (0.4 ohm – 0.8ohm)
50 ohm
x76
x2
Circuit V1 Option

## Slide 7
50 ohm
1k ohm
1 uF
0.1 uF
10 uF
LVR 3.3 V from 5V Arduino Uno
Actual Strain gauge about a foot away from this circuit
5V Arduino uno source
Latest circuit does NOT have any RF filtering on opamp output

## Slide 9
LVR +3.3V
GND
+1.3 mV to 2.6 mV + Vref
~ - 1.95 mV (order precision resistor for this)+ Vref (average of input voltage range)
Microcontroller
GND
Strain Gauge (0.4 ohm – 0.8ohm)
1kohm (to limit current)
ADS112C04 or NAU7802 16-Bit, 4-Channel, 2-kSPS, Delta-Sigma ADC With I2C Interface, 128x Gain!
Circuit V2 Option (IDEAL)
X?
2.048V Vref
Using Differential ADC for Common Mode Rejection
NAU7802 Already does this but my output was very noisy!

## Slide 10: NAU7802 – use external 3.3V LVR and 2.048V ref (or slightly more) for AN- and 2.048V + strain gauge voltage for AN+
Serial.print("LDO voltage set to ");
switch (nau.getLDO()) {
case NAU7802_4V5: Serial.println("4.5V"); break;
case NAU7802_4V2: Serial.println("4.2V"); break;
case NAU7802_3V9: Serial.println("3.9V"); break;
case NAU7802_3V6: Serial.println("3.6V"); break;
case NAU7802_3V3: Serial.println("3.3V"); break;
case NAU7802_3V0: Serial.println("3.0V"); break;
case NAU7802_2V7: Serial.println("2.7V"); break;
case NAU7802_2V4: Serial.println("2.4V"); break;
case NAU7802_EXTERNAL: Serial.println("External"); break;

## Slide 11
3.3V source from LVR and 2 x 10uF Caps, 16 bit enc, 8x ADC gain, 50 ohm div
3.3V source from LVR and 2 x 10uF Caps, 16 bit enc, 2x ADC gain (using diff input), 76x gain from LMC6482 (across gauge), 50 ohm div with 0.4 ohm strain gauge (see circuit)
Bc of breadboarding, distance from strain gauge to circuit over a foot

## Slide 14
LVR +3.3V
GND
+1.3 mV to 2.6 mV + Vref
~ - 1.95 mV + Vref (average of input voltage range)
Microcontroller
GND
Strain Gauge (0.4 ohm – 0.8ohm)
1kohm (to limit current)
ADS112C04 16-Bit, 4-Channel, 2-kSPS, Delta-Sigma ADC With I2C Interface, 128x Gain!
Circuit V2 Option (IDEAL)
X?
2.048V Vref
Using Differential ADC for Common Mode Rejection

## Slide 15: Kinematics Presentation Tom
4_17_25

## Slide 16
Linear Fitting
Quadratic Fitting
Red Boxes = tests using full pos ADC range

## Slide 17
Linear Fitting
Quadratic Fitting

## Slide 18
Linear Fitting
Quadratic Fitting

## Slide 19
v
Velcro reapply
Velcro misalignment
0 , 10, 20 deg
Silicone Glue to Bender
Same Sample

## Slide 20
v
Velcro
Same Sample

## Slide 21: Kinematics Presentation Tom
4_22_25

## Slide 22: Agenda
Finished length, reapplication, and misalignment testing
  Finish reviewing data, code, analysis, and send to Preeya
  Do model testing
Total current draw from current circuit for one sensor
Testing new low current circuit
Create test stand for camera and use BMI 3D to acquire: (1) camera video data, (2) IMU on top of camera , (3) Two IMU’s to measure bend angle of MCP
Take CITI training by next Thursday!

## Slide 23
Different Length Samples Norm 0 to 1
Reapplication Data Norm 0 to 1
Misalignment Data (0, 10, 20 deg) Norm 0 to 1

## Slide 24
Different Length Samples Norm 0 to 1
Reapplication Data Norm 0 to 1
Misalignment Data (0, 10, 20 deg) Norm 0 to 1

## Slide 25
Different Length Samples Norm 0 to 1
Reapplication Data Norm 0 to 1
Misalignment Data (0, 10, 20 deg) Norm 0 to 1

## Slide 26
LVR +3.3V
GND
LMC6482, 75kohm/1kohm, total gain of 76
+26 mV to 52 mV
+0 mV
+1.98 V to 3.95V
LM040, 2.048V ref
-2.048 V
MCP3421 Differential Input PGA x2, 16 bit
(Alternative can use ADS111)
Arduino Uno I2C
ADC bits range from ~ -3000 to 20000 (as opposed to 5000 delta previously) of possible -32k to 32 k
GND
Strain Gauge (0.4 ohm – 0.8ohm)
50 ohm
x76
x2
Circuit V1 Option
Circuit Component | Current Draw (mA)
Divider Circuit | ~ 65 mA + 5 mA for LVR
LMC6482 | ~ 0.6 mA
LM040 | ~ 0.1 mA
MCP3421 (16 bit) | ~ 0.22 mA
0.5 A-hr

## Slide 27
50 ohm
1k ohm
1 uF
0.1 uF
10 uF
LVR 3.3 V from 5V Arduino Uno
Actual Strain gauge about a foot away from this circuit
5V Arduino uno source
Latest circuit does NOT have any RF filtering on opamp output

## Slide 29
LT3042 LDO 0.5% accuracy -> 3.000V
MCP3421
GND
Strain Gauge (0.4 ohm – 1.2 ohm)
470 ohm
Circuit V2 Option
Circuit Component | Current Draw (mA)
Divider Circuit | ~2x 4.4 mA
LT3042 | ~ 2mA
MCP3421 | ~ 0.22 mA
LMC6482 | ~ 2x 0.6 mA
1.6 mV – 5.2mV
x50
x500
0.8V to 2.6V
x1
RP2040
470 ohm
Precision Resistor 0.4 ohm
GND
GND
x500
LMC6482
x500
1.6 mV
0.8V

## Slide 30
LT3042 LDO 0.5% accuracy -> 3.000V
GND
MCP342
GND
Strain Gauge (0.4 ohm – 1.2 ohm)
Circuit V2 Option
Circuit Component | Current Draw (mA)
Divider Circuit | ~ 10 mA
LT3042 | ~ 2mA
MAX6070 | ~ 0.2 mA
LMC6482 | ~ 0.6 mA
4 mV – 11.95mV
x50
1.25V ref MAX6070 (or 2.048V LM4040)
x64
(0.256 V to 0.7648V) centered around 1.25 V
x8
LMC6482
RP2040
300 ohm
1V to 1.5V (centered around 1.25V ref)